## 0.Intro & Guidelines
Introduction | The financing/risk-sharing was created in the frame of Horizon 2020 Project titled +CityxChange with the aim to obtain the equipment needed to create a DPEB in the city of Throndheim (Norway). The financing/risk-sharing model was refined during the project and has initially already been used to enable the Sluppen DPEB. All partners have contributed to co-developing the financing/risk model and further refining it. The FRSM defines and considers the allocation of finance-investment risk among different stakeholders (tech producers & investors) for the energy assets-infrastructures: PV, BESS, Heat Pumps, EV chargers needed.
Financial Risk Sharing Model application, how to use it | FRSM apllication gives guidance/overview to prepare and advise investors and tech providers in the decision-making process before and during the investments in a PEB. To complete the Tool and have feed-back on investment and risk analysis here the instructions. Provide the following info-descriptions in cells coloured Light GREEN 3: Sheet 1. Insert here information on each player-stakeholder involved, related company’s profile, core business and area, role in the PEB/LEM, Business model and strategy, related improvements from PEB to Local Energy Market, etc. Sheet 2. Insert the energy type and prices. Revenues related to each energy asset-software. O&M costs etc. Sheet 3. This excel Sheet automatically elaborates and calculates data and numbers Financial KPIs (PaybackPeriod, ROI, Operational Profit) to be completed in Sheet 2. Sluppen_PEB_revenues.
Objective | The FRSM aims at giving an overview on potential risks among identified stakeholders for each energy asset/infrastructure and benefits of energy assets and related flexibility in the local market
Investing in energy efficiency measures & RES: benefits, barriers & risks Methodology | General definition The Financial Risk Sharing Model is an innovative model/tool that created to assess/calculate potential benefits and/or financial & investment risks distributed among a cluster of stakeholders achieving a common goal (PEB). The objective of the FRSM is to give guidance on how to avoid potential investment losses and reduce financial exposure risks. The FRSM is a tool containing a series of inputs & energy data, calculation methods such as financial KPIs & ESG indicators/impacts, benefits&risks assessment analysis that aim at addressing actions & measures in an innovative way that creates a methodology to calculate investment risk & opportunities for potential investors in RES and related flexibility in the PEBs . The model tries to prepare and advise investors and tech producers in the decision making process before and during the investment. A major driving force in the decision making process is related to risks that investors perceive in the LEM. The aim of this model is to create a methodology finalized to measure and share common financial risks among involved investors and quantify potential risks of investments. These methods and their results will be used for various business cases and energy investments. The methodology to measure risks foresees that after estimating financing parameters, it’s needed to gather information on risks influencing investments. So both risks and potential revenues of investments depend on uncertainty of future events but financial investment risks usually play a prevailing role in investment decisions. Energy Efficiency and RES projects present numerous risks, starting from political and regulatory risks, to grid and transmission risks, finishing with liquidity and refinancing risks. The first mitigation measure deals with the role of the of Policy makers that can drive and support energy community and potential investors to overcome barriers, acting as an intermediary to avoid investment risks and allow access to capital for investments in RES and EE projects and programmes. Risks are strictly linked and dependent to the financial value of an investment and finacial, economic and social benefits can generatge. The Financial Risk Sharing Model measures the risk of the investment in quantitative and qualitative terms. The model assets the financial terms and how they affect the value of a project. TheFRSM puts in relation each stakeholder with Local Market Assets and Flexibility and uses measures the financial value of each asset of he project. The FRSM supports +CityxChange investments and policy instruments that the project wants to put in place by removing barriers and reducing risks. We have approached a group of tot Investors for tot Investments. The Investors we approach in the model consist of representatives in Real Estate, DSO, Building Owners and District Heating Operators. The results of the analysis and the market consultation are combined in a model to quantify the costs of risk. The model measures the expected cash flows in the referred LEM. The FRSM estimates the future price of electricity, the expected outputs of the project (in terms of kWh) and costs for operation and maintenance. The model measures the minimal price that investors want to obtain from the market (in the lifetime of the project) so his demands regarding financial returns are met and the investment is feasible. The price is calculated from the cash flow of the project, in which all relevant factors are included such as O&M and maintenance costs. An estimation of the minimal price is particularly useful in markets where the financial support for renewable energy is not fixed by the government (e.g. through feed-in tariffs) but depends on the market. The result of a cash flow calculation is usually the rates of return of a project.
Contact Details | Valentina Scavelli v.scavelli@ovaerdi.com; Filippo Giglio f.giglio@ovaerdi.com

## 1.Stakeholders & BMs
| Instruction | Fulfill green cells with info and features of involved stakeholders in PEB realization
Stakeholders Involved |  | Trønderenergi | ABB | KJELDSBERG/RK | STATKRAFT VARME - District Heating Operator | VOLUE (ex POWEL) | ABG | Trondheim Municipality
Company type |  | Power Producer | HW/SW development and production- | Building Owner / Real estate developer /Facility Manager | District Heating Operator (production, distribution, customer services), Thermal Energy Producer from waste | Software for the energy industry + IT knowledge ( Energy Trading Platform and Market Provider) | Rental Cars / Car sharing | Trondheim Municipality
Description |  | Provides renewable energy from hydro and wind to the market end users in the business segment. | Energy System Integrator, energy management systems, industrial automation, technology provision. Integrate with energy assets (BESS, Building Automation, PV, EV etc) and optimize energy use, peak shaving etc. Also enable to sell and buy energy in a market. | Owner of 5 corporate/industry buildings at Sluppen PEB | Environmentally safe combustion of outsorted waste and supply of renewable thermal energy in urban areas ensuring security of supply. DH connection compulsory but heat use not compulsory. | Software for utilities to optimise their available resources, utilisation of assets and processes by making advanced decision support available for operational use and manage big data as foundation for analyses. | A flexible, cheaper, more sustainable and hassle free way to enjoy car based mobility when you need it - without the need to own your own car. App based reservation and "unlock" functionality, and product is found in key locations in customer's proximity.
Role(s) in PEB/LEM |  | Market Operator (both energy and flexibility) & BESS Operator, Aggregator | Energy management system ("SITE EMS, part of Ability OPTIMAX product portfolio/platform"): integration of building systems & control of energy assets, in order to optimize energy consumption and connect assets to the market thus initiating energy trade dispatch; provision of EV chargers for V2G/V2B as part of eMaaS. | Prosumer in LEM(PV energy) - Building Owner | Producer of heating and cooling and related infrastructure. Competence for developing energy efficiency projects involving thermal energy and plants and optimization of use. Development of a flexibility and trading market for heating. | Operate Energy Trading Platform and Local Energy Market on behalf of CSO | Sustainable Emaas and mobility operator. Owner of a pool of shared EVs to corporate and private customers; prosumer in LEM.
PEB Business Model | Value Proposition | Support the energy transition through local market for energy and flexibility which generate value for local stakeholders, on the basis of a deep knowledge about regulations and power markets. | Optimize energy USE, system integration, enabling the possibility to integrate energy assets to an energy market and trading. | Provide RES (PV), PEB participant (maybe EPC), provide Heat Pumps (in addition to DH) | The Business model analyses how can be profitable the connection of the DH with private heat pumps in smart grid system. The model aims at increasing the thermal generation, to reduce the loading of the electricity distribution grid, to maximise PV self-consumption and optimise heat use. | Enable market access for any energy source and coupling with DH, regardless of size, type, ownership and location | Sustainable and affordable eMaaS, delivered through participation in local energy and flexibility markets in order to increase revenues from assets and therefore reduce costs for end-users
| Product /Service Offering | Services for local market access: Local Energy and Flexibility Market Platform and BESS for flexi provision for peak shaving, load shifting. Also generates energy through PV and provides metering services | 1) energy management software cloud-based 2) protocols/converters to interface assets/cloud 3) hardware running the software locally in larger buildings application. 4) 2-way EV chargers (V2G, V2B) | green energy (PV) to be sold to the tenants (lower prices) and traded within the local market. As per the electric heaters not defined yet | Flexible and optimized heating and cooling system combining DH with private heating systems. Thermal infrastructure and competence, local flexibility, system coupling, optimization | Software for market operation and market participation; Domain knowledge + IT knowledge for participants and market operator (TE) service and support | Car Rental. Energy trading for consumers and energy storage for ecosystem (V2B, V2G). Grid balancing services.
| Business Partners | Customers: PEB prosumers, other PEBs (later work), Suppliers: VOLUE, ABB, ABG Others: IOTA (payments, smart contracts), regulator, consultants | Customers: PEB prosumers, other PEBs (later work), LEMs operators, Suppliers: none Others: regulators | Customers: Corporate tenants - in future residential tenants, Utilities (LEM), ABG, TE Suppliers: Utilities, TE, PV providers, ICT provider Others: ESCo, digital platforms | Customers: LEM, buildings/PEB prosumers, software provider Suppliers: buildings (for private heat pumps connection) Others: Balancing group (balancing authority)? regulation authority, business models consultants | Customers: TE Suppliers: software providers Others: in the future Volue will move from a few big customers to many small ones as more local markets managed by different entities are expected to emerge in near future. Regulators. | Customers: private, corporate and public car drivers; buildings Suppliers: cars and infrastructure manufacturers; software developer/digital platform Others: other shared mobility services such as bike sharing; municipality; public transport operator
| Cost Structure | BESS installation and O&M; ownership and operation of Local Flex Market (LFM) and HW for connection. Building Owners - Commercial and public , grid companies (to handle bottlenecks) and in general any energy asset owner that intend to participate in the local market as producer and/or consumer. | Installation and operation of ABB Optimax. Fixed costs (Design, Production,Installation and Commissioning), Variable cost (maintenance, service) influenced by business volume and economy. Also depending on the nr of different protocols to integrate | Same as BAU. For PV-as-a-service, costs will be related to the production they believe they can get ( leasers take the performance risk) | Part of PV/BESS installation and O&M. Fixed Costs, Variable Costs, Costs influenced by economy of scale, decrease with business volume. | Cost will be partly associated with IT infrastructure (development of Energy Trading Platform and its O&M), which is dependent on scale/volume, and partly dependent on personnel cost related to development and hosting/operation +variable costs depending on volume - linked to customers (nr and typology), energy volume, nr of trades. Costs influenced by economy of scale, decrease with business volume | Fixed costs: Costs related to vehicles and operations (parking, charging, marketing, maintenance, staff) and software Variable costs: electricity .
| Revenue Streams | Discussing with grid company for changes in regulation RE grid tariffs (part of the reduction might go as revenues for LMO. | Single sale for hardware components and software licences and system integration. Subscription fee for asset management and connection to local market. | Subscription fee for flexibility and V2B. Usage/service/green energy fee adding a small % for RK for invoicing (or fullprofit in case they buy the panels- in this case with no taxes i.e. higher profits) | - sale of thermal energy within the PEB. Develops now new dynamic pricing models for e.g. waste heat from large DH grid, substitute HP energy with DH, and use of seawater HP energy as alternative to juvenile DH. - sale of flexibility, either flat rate contract (price is independent of consumption) or flex rate (reimbursed). Volume based - need to find a value to flexibility and security of supply. Recurring sales, usage fees. | Related to volume traded at the local energy market, either numbers of trade, energy traded or a combination. Subscription fee/usage fee. | From rentals of EVs; charging EVs at optimal/suboptimal times for EL prices; selling energy, capacity (kW) and system services from EV batteries to customers in the LEM. Primary revenues: Subscription fee, Usage fee ; secondary revenues from grid services (tbd)
| Infrastructures | LE&FM platform HW/SW - asset integration for operating the market Battery storage system HS/SW for district heating integration, heat storage. | ABB Optimax/SiteEMS - HW/SW based solution for asset and energy system integration (DERMS - Distributed Energy Resource Management System) | Buildings, Software, IT infrastructure, Energy Infrastructures (PV panels - heating systems, electrical systems) | DH, private heat pumps, IT infrastructure and software | IT infrastructure and software: Energy Trading Platform for LEM/LFM and hosting | Buildings, Software, IT infrastructure, Energy Infrastructures, vehicles, parking spaces, charging infrastructure
| Business Strategy | By operating the LE&FM TE will get a return on grid tariffs and on volume traded. Possible expansion in other places | Widen target customers, explore subscription services market for replication elsewhere. 1 person managing the platform (part-time work) | Cheper energy prices for tenants. Possible creation of a company connecting and operating all HPs (with no employees) as a local heating provider to connect it to the grid to trade energy (and getting incentives for green energy) | The heat generated by private heat pumps is fed into district heating grid and can be sold to PEB customers. Through the combination of a thermal storage or thermal mass in buildings, electric heat pump decouple heat production from heat demand. This gives flexibility in HPs. The HP is connected with a platform and the flexibility is available for energy utilities. The utility has a contract with the DHO to use the flexibility but it will be used only if convenient. Cooling? | VOLUE builds upon its long time experience in utility scale energy markets software, in order to develop software platform for small scale - local markets.
Improvements from PEB and Local Markets |  | New technologies: Storage, integration and smart meters New revenues: LEM Usage fees (based on volume, % tbd); new services for current customers (business segment) New customers: Households | New revenues: Subscription fees to services such as asset management and connection to local flexibility market (not applied in BAU, as normally Single sale for hardware components and software licences and system integration are used). New customers: municipality, university, households Other opportunities: capacity building for staff | New technologies: PV installation or PV as-as-a-service; New revenues: market flexibility; energy trading; margin on PV energy supply based on tax avoidance in a LEM, Special Purpse Vehicle for HPs management/trading New customers due to lower energy bills | New services: System coupling, optimization, flexibility in heat provision; managing households facilities behind the meters; provision of summer cooling through use of excess heat in summer | New revenues: Platform Hosting and Software as-a-service; usage fees based on volume of energy traded/nrs of trades or a combination; sell of expertise. New customers: Building Owners - Residential, Building Owners - Commercial, Industrial companies, Commercial companies (directly or indirectly through TE) - interesting for future developments in other places | New revenues coming from mobility as a service, grid services, capacity/storage. New customers: grid operator, building owners
Needed CAPEX-investments | Technology Personnel/capacity building Other | ICT (one off and monthly fees) and smart meters Capacity building on machine learning and AI Definition of contracts with LEM participants | Tailor solutions for each building/customer - no standardisation definition of Energy contracts for each single market participants | PV panels | Energy management, solar panels Legal - contracting with households for mangement of what's behind the meter | Technology automation, develop software platform for small scale - local markets, to collate different protocols Initial bigger workload | e-vehicles and e-chargers; software
Barriers in implementation of business strategy | Legal / Regulatory: Technical: Economic: Environmental: Spatial: Economic/Financial: Other: | Legal and Technological barriers linked with methodology to split the energy values coming from smart meters between locally and globally sourced energy. | - Market: find commercially viable projects and funding - Technological: Local energy market and related technology are not mature. Also there are a lot of new solutions being developed to address similar problems. - Financial: lack of incentives, lack of private investment - Regulatory: GDPR regulation (which data can be controlled/managed) - norms on local energy trading (Norway lags behind on this topic). - Political: the energy transition is not seen in the same way by different political parties, a change in goverments can lead to changes in policies. | - Legal: Regulatory (tenancy act and energy market laws) - Economic (costs of PV panels) - Social: tenants not aware of energy changes (from fossil fuels to green) | Economic: Competition with electric heating, where the prices are regulated and the costs of different sources equalize. Economic: define a value to flexibility services Legal/Regulatory barrier: behind the meter Assets control is not in place as per today. DH operator has to compete with FM companies, that are currently managing the plants on behalf of building owners. | Legal: regulations not allowing local energy markets Economic: lack of incentives to kick start LEMs Economic: excess production not well incentivised nowadays Social: market not mature | Economic: High investment in vehicles (rental vs purchase), primary vs secondary revenues, Social/economic: market situation (lockdown etc) Technical: technical maturity (flexibility and optimization) Legal: not being able to deliver the intended grid services to the local market.
Funding & Funds opportunities |  | BESS: Own capital Dev. market solution: CxC/EU Operate market solution: Own capital Low potential of external funding for further development | Develop Optimax: Own capital Operate Optimax: Own capital System integration: CxC/EU Low potential of external funding for further development | HP and PV investments: Own capital. A little national funding for PV at Sluppenvegen 19. Energy efficiency in CxC project: Partly EU Opportunities: Lower interest rate for new builds due to BREEAM/WELL certific. National funding from Enova - www.enova.no for further developments (funding varies from 35-50%depending on type of measure) | Own capital for all investments and operations. EU/CxC for developing new pricing models. SV active on participating w/others to obtain national funding through Enova and other instruments (such as development projects). Most often other actors than SV in charge, but SV part of consortium | Own capital + a little CxC/EU for developing PEB Design Tool and trading solution;main parts developed w/own capital. As ABB highly commercial and not involved in projects receiving funds | Own capital: Buy and operate EVs and EV sharing scheme. Own capital also for other work including marketing/promo and further scaling In CxC: EV charging infrastructure (incl V2G) funded by others. TK paid for 2 pcs V2G chargers over Climate Budget. Uncertain on how charger funding will be for scaling until obligations in Grant Agreement
Note on F2: ====== ID#AAAAsaXxzWE (2023-03-03 18:51:33) Tensio is DNO formerly part of same mother company as TE, now separate entity ---- info from questionnaire responses -CxCproject OV
Note on I2: ====== ID#AAAAsaXxzWA (2023-03-03 18:51:33) info from responses to questionnaire -CxCproject OV
Note on F3: ====== ID#AAAAsaXxzV4 (2023-03-03 18:51:33) Yes DSO, but still uncertain and a bit reluctant to onboard fully a DSO role. In CxC TE will fill many of the DSO roles
Note on F10: ====== ID#AAAAsaXxzWI (2023-03-03 18:51:33) DH pricing in Norway is based on production cost, decided return-%, and DH price to customers is based on monthly spot price for EL. Important for CxC to have SV develop and test price models decoupled from EL spot price
Note on D16: ====== ID#AAAAsaXxzV8 (2023-03-03 18:51:33) ABB Optimax: Asset/System integration SW + some HW

## 2.PEBs Inputs & data
Instruction | Insert-Select your Energy source(s) | Insert the Energy price related to reference period/year/month | Insert the Energy price related to reference period/year/month | Insert the Energy price related to reference period/year/month |  | In order to have a calculation based on real data it's important share the source of the energy price
|  | 2021 year | 2022 March | 2022 September | Average Price | Source
N | Energy prices | € | € | € | € | GlobalPetrolPrices.com (Norway)
1 | Electricity | 0.1 | 0.15 | 0.53 | 0.26
2 | Dynamic Price (Coupling) |  |  |  | 0.14
3 | BESS energy price |  |  |  | 0.12
4 | Thermal price |  |  |  | 0 |  |  |  | Sensitivity | Energy prices
5 | # sources of energy # |  |  |  | 0 |  |  |  | Sensitivity 1 | 0.15
[9 empty] | Sensitivity 2 | 0.2
Sensitivity 3
Sensitivity 4
Instruction | Insert the name of each involved Stakeholder | Insert the cost of each asset/infrastructure/software | Insert all the Operation & Manteinance costs (Opex, personnel, insurance, etc.) | Insert a brief description-name of each energy asset | Insert the Total Energy produced or saved on annual basis | Multiply the Energy Production/Saving kWh of each Energy asset for the related Averga Energy Price above
N | Stakeholders Involved | Total Investent Value € | O&M Costs € | Energy Asset | Energy Production/Savings kWh/y | Revenues € | Total | N | Stakeholders Involved | Sensitivity #1 |  | Sensitivity #2 |  | Sensitivity #3 |  | Sensitivity #4
1 | Trønderenergi | 751400 | 55570 | PV (from site) | 84000 | 21840 | 69729.6 | 1 | Trønderenergi | 12600 | 50068.2 | 16800 | 59005.2 | 0 | 0 | 0 | 0
|  |  |  | BESS | 28980 | 4057.2 |  |  | 0 | 4057.2 |  | 4057.2 |  | 0 |  | 0
|  |  |  | Flexibility | 94740 | 24632.4 |  |  | 0 | 14211 |  | 18948 |  | 0 |  | 0
|  |  |  | Reduced cost of grid tariff due to BESS |  | 19200 |  |  | 0 | 19200 |  | 19200 |  | 0 |  | 0
|  |  |  | # Energy Asset # |  |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0
|  |  |  | # Energy Asset # |  |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0
2 | ABB | 314250 | 15000 | Software | 71258 | 18527.08 | 18527.08 | 2 | ABB | 10688.7 | 10688.7 | 14251.6 | 14251.6 | 0 | 0 | 0 | 0
|  |  |  | # Energy Asset # |  |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0
|  |  |  | # Energy Asset # |  |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0
|  |  |  | # Energy Asset # |  |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0
|  |  |  | # Energy Asset # |  |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0
|  |  |  | # Energy Asset # |  |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0
3 | KJELDSBERG/RK | 674553 | 116182.95 | Energy Renovation Sluppen | 151363 | 39354.38 | 185387.44 | 3 | KJELDSBERG/RK | 22704.45 | 130646.6 | 30272.6 | 155528.8 | 0 | 0 | 0 | 0
|  |  |  | PV Sluppenvegen 11 | 150075 | 39019.5 |  |  | 0 | 22511.25 |  | 30015 |  | 0 |  | 0
|  |  |  | PV Sluppenvegen 17B | 75256 | 19566.56 |  |  | 0 | 11288.4 |  | 15051.2 |  | 0 |  | 0
|  |  |  | PV Sluppenvegen 19 | 120950 | 31447 |  |  | 0 | 18142.5 |  | 24190 |  | 0 |  | 0
|  |  |  | HP Sluppenvegen 19 | 400000 | 56000 |  |  | 0 | 56000 |  | 56000 |  | 0 |  | 0
|  |  |  | # Energy Asset # |  |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0
3 | STATKRAFT VARME - District Heating Operator | 500000 | 16500 | Thermal energy import from seawater HP Brattøra | 400000 | 56000 | 100800 | 3 | STATKRAFT VARME - District Heating Operator | 56000 | 100800 | 56000 | 100800 | 0 | 0 | 0 | 0
|  |  |  | Exchange HP with DH | 320000 | 44800 |  |  | 0 | 44800 |  | 44800 |  | 0 |  | 0
|  |  |  | # Energy Asset # |  |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0
|  |  |  | # Energy Asset # |  |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0
|  |  |  | # Energy Asset # |  |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0
|  |  |  | # Energy Asset # |  |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0
5 | VOLUE (ex POWEL) | 65000 | 15000 | Energy trading platform | 142516 | 37054.16 | 37054.16 | 5 | VOLUE (ex POWEL) | 21377.4 | 21377.4 | 28503.2 | 28503.2 | 0 | 0 | 0 | 0
|  |  |  | # Energy Asset # |  |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0
|  |  |  | # Energy Asset # |  |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0
|  |  |  | # Energy Asset # |  |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0
|  |  |  | # Energy Asset # |  |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0
|  |  |  | # Energy Asset # |  |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0
6 | ABG | 27400 | 1000 | EV CHARGER | 10000 | 2600 | 2600 | 6 | ABG | 1500 | 1500 | 2000 | 2000 | 0 | 0 | 0 | 0
|  |  |  | # Energy Asset # |  |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0
|  |  |  | # Energy Asset # |  |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0
|  |  |  | # Energy Asset # |  |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0
|  |  |  | # Energy Asset # |  |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0
|  |  |  | # Energy Asset # |  |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0
7 | Trondheim Municipality | 458500 | 20000 | PV Tempe Health Care Centre | 112000 | 29120 | 41340 | 7 | Trondheim Municipality | 16800 | 23850 | 22400 | 31800 | 0 | 0 | 0 | 0
|  |  |  | Energy Renovation Tempe HCC | 47000 | 12220 |  |  |  | 7050 |  | 9400 |  | 0 |  | 0
|  |  |  | # Energy Asset # | [5 empty] | 0 |  | 0 |  | 0 |  | 0
|  |  |  | # Energy Asset # | [5 empty] | 0 |  | 0 |  | 0 |  | 0
|  |  |  | # Energy Asset # | [5 empty] | 0 |  | 0 |  | 0 |  | 0
|  |  |  | # Energy Asset # | [5 empty] | 0 |  | 0 |  | 0 |  | 0
|  |  |  | # Energy Asset # | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| Gran Totals | 2791103 | 239252.95 |  | 2208138 |  | 455438.28 |  |  |  | 338930.9 |  | 391888.8 |  | 0 |  | 0
|  | Total Investent Value € | O&M Costs € | Energy Asset | Energy Production/Savings kWh/y | Revenues € | Total |  |  | Revenues € | Total | Revenues € | Total | Revenues € | Total | Revenues € | Total
Note on G21: Calculation of flexibility traded: KPI target (will most likely be obtained) is to trade 10% of total DER capacity available. Total DER capacity: Sum of annual PV production and calculated available flex from heat pumps. Since we don't have EL consumption for HPs directly: Use COP of 2.5 for all HPs, and calc EL consumption for HPs based on total thermal HP production divided by 2.5. Tot PV production: 600,000 kWh/yr. Trade 10% = 60,000 kWh/yr Tot HP production: 868,480 kWh/yr Tot calculated DER capacity HPs: 848,480 kWh/yr / 2.5 = 347,400 kWh/yr. Flex from HPs: 34,740 kWh/yr 10% of total DER capacity traded: 60,000 + 34,740 = 94,740 kWh/yr ======
Note on H22: See comments on total revenue for TE on Tab Financial Risk Analysis ======
Note on G25: Ref dPEB Summary in valid BEST Tables: https://docs.google.com/spreadsheets/d/1WdbPKNnE0MXszgFgSQIkikoWEVwY-PXfj45pXTs_YkA/edit#gid=756279394 ======
Note on G37: ====== ID#AAAAsaXxzV0 CxCproject OV (2023-01-04 18:33:58) @bjorn-ove.berthelsen@trondheim.kommune.no probably these revenues for SV are too high in the face of an investment of 53.625 €, maybe we should increase O&M costs, what do you think? _Tildelt til Bjørn Ove Berthelsen_
Note on G43: Ref dPEB Summary in valid BEST Tables: https://docs.google.com/spreadsheets/d/1WdbPKNnE0MXszgFgSQIkikoWEVwY-PXfj45pXTs_YkA/edit#gid=756279394 ======

## 3.PEBs Outputs KPIs & Fin. Risk
Stakeholders Involved |  | Trønderenergi | ABB | KJELDSBERG/RK | STATKRAFT VARME - District Heating Operator | VOLUE (ex POWEL) | ABG | Trondheim Municipality | GRAN TOTALS | Total Costs + Investment
Total Investments | € | 751400 | 314250 | 674553 | 500000 | 65000 | 27400 | 458500 | 2791103 | 3030355.95
Total Investments | % | 26.92% | 11.26% | 24.17% | 17.91% | 2.329% | 0.9817% | 16.43% | 100%
Revenues | € | 69729.6 | 18527.08 | 185387.44 | 100800 | 37054.16 | 2600 | 41340 | 455438.28
Revenues | % | 15.31% | 4.068% | 40.71% | 22.13% | 8.136% | 0.5709% | 9.077% | 100%
O&M Costs (Opex, Personnel...) | € | 55570 | 15000 | 116182.95 | 16500 | 15000 | 1000 | 20000 | 239252.95
O&M Costs (Opex, Personnel...) | % | 23.23% | 6.27% | 48.56% | 6.896% | 6.27% | 0.418% | 8.359% | 100%
Payback Period | y | 10.7759 | 16.9617 | 3.6386 | 4.9603 | 1.7542 | 10.5385 | 11.091 | 6.1284
Operational Profit | € | 14159.6 | 3527.08 | 69204.49 | 84300 | 22054.16 | 1600 | 21340 | 216185.33
ROI (Return On Investment) - annual basis | % | 1.884% | 1.122% | 10.26% | 16.86% | 33.93% | 5.839% | 4.654% | 7.746%
ROI (3 years) | % | 5.653% | 3.367% | 30.78% | 50.58% | 101.8% | 17.52% | 13.96% | 23.24%
ROI (5 years) | % | 9.422% | 5.612% | 51.3% | 84.3% | 169.6% | 29.2% | 23.27% | 38.73%
ROI (10 years) | % | 18.84% | 11.22% | 102.6% | 168.6% | 339.3% | 58.39% | 46.54% | 77.46%
Financial Risk (Cash flows) | % | 6.55% | 1.632% | 32.01% | 38.99% | 10.2% | 0.7401% | 9.871% | 100%
Sensitivity 1
Stakeholders Involved |  | Trønderenergi | ABB | KJELDSBERG/RK | STATKRAFT VARME - District Heating Operator | VOLUE (ex POWEL) | ABG | Trondheim Municipality | GRAN TOTALS | Total Costs + Investment
Total Investments | € | 751400 | 314250 | 674553 | 500000 | 65000 | 27400 | 458500 | 2791103 | 3030355.95
Total Investments | % | 26.92% | 11.26% | 24.17% | 17.91% | 2.329% | 0.9817% | 16.43% | 100%
Revenues | € | 50068.2 | 10688.7 | 130646.6 | 100800 | 21377.4 | 1500 | 23850 | 338930.9
Revenues | % | 14.77% | 3.154% | 38.55% | 29.74% | 6.307% | 0.4426% | 7.037% | 100%
O&M Costs (Opex, Personnel...) | € | 55570 | 15000 | 116182.95 | 16500 | 15000 | 1000 | 20000 | 239252.95
O&M Costs (Opex, Personnel...) | % | 23.23% | 6.27% | 48.56% | 6.896% | 6.27% | 0.418% | 8.359% | 100%
Payback Period | y | 15.0075 | 29.4002 | 5.1632 | 4.9603 | 3.0406 | 18.2667 | 19.2243 | 8.235
Operational Profit | € | -5501.8 | -4311.3 | 14463.65 | 84300 | 6377.4 | 500 | 3850 | 99677.95
ROI (Return On Investment) - annual basis | % | -0.7322% | -1.372% | 2.144% | 16.86% | 9.811% | 1.825% | 0.8397% | 3.571%
ROI (3 years) | % | -2.197% | -4.116% | 6.433% | 50.58% | 29.43% | 5.474% | 2.519% | 10.71%
ROI (5 years) | % | -3.661% | -6.86% | 10.72% | 84.3% | 49.06% | 9.124% | 4.198% | 17.86%
ROI (10 years) | % | -7.322% | -13.72% | 21.44% | 168.6% | 98.11% | 18.25% | 8.397% | 35.71%
Financial Risk (Cash flows) | % | -5.52% | -4.325% | 14.51% | 84.57% | 6.398% | 0.5016% | 3.862% | 100%
Sensitivity 2
Stakeholders Involved |  | Trønderenergi | ABB | KJELDSBERG/RK | STATKRAFT VARME - District Heating Operator | VOLUE (ex POWEL) | ABG | Trondheim Municipality | GRAN TOTALS | Total Costs + Investment
Total Investments | € | 751400 | 314250 | 674553 | 500000 | 65000 | 27400 | 458500 | 2791103 | 3030355.95
Total Investments | % | 26.92% | 11.26% | 24.17% | 17.91% | 2.329% | 0.9817% | 16.43% | 100%
Revenues | € | 59005.2 | 14251.6 | 155528.8 | 100800 | 28503.2 | 2000 | 31800 | 391889.8
Revenues | % | 15.06% | 3.637% | 39.69% | 25.72% | 7.273% | 0.5103% | 8.115% | 100%
O&M Costs (Opex, Personnel...) | € | 55570 | 15000 | 116182.95 | 16500 | 15000 | 1000 | 20000 | 239252.95
O&M Costs (Opex, Personnel...) | % | 23.23% | 6.27% | 48.56% | 6.896% | 6.27% | 0.418% | 8.359% | 100%
Payback Period | y | 12.7345 | 22.0502 | 4.3372 | 4.9603 | 2.2804 | 13.7 | 14.4182 | 7.1222
Operational Profit | € | 3435.2 | -748.4 | 39345.85 | 84300 | 13503.2 | 1000 | 11800 | 152636.85
ROI (Return On Investment) - annual basis | % | 0.4572% | -0.2382% | 5.833% | 16.86% | 20.77% | 3.65% | 2.574% | 5.469%
ROI (3 years) | % | 1.372% | -0.7145% | 17.5% | 50.58% | 62.32% | 10.95% | 7.721% | 16.41%
ROI (5 years) | % | 2.286% | -1.191% | 29.16% | 84.3% | 103.9% | 18.25% | 12.87% | 27.34%
ROI (10 years) | % | 4.572% | -2.382% | 58.33% | 168.6% | 207.7% | 36.5% | 25.74% | 54.69%
Financial Risk (Cash flows) | % | 2.251% | -0.4903% | 25.78% | 55.23% | 8.847% | 0.6551% | 7.731% | 100%
Sensitivity 3
Stakeholders Involved |  | Trønderenergi | ABB | KJELDSBERG/RK | STATKRAFT VARME - District Heating Operator | VOLUE (ex POWEL) | ABG | Trondheim Municipality | GRAN TOTALS | Total Costs + Investment
Total Investments | € | 751400 | 314250 | 674553 | 500000 | 65000 | 27400 | 458500 | 2791103 | 3030355.95
Total Investments | % | 26.92% | 11.26% | 24.17% | 17.91% | 2.329% | 0.9817% | 16.43% | 100%
Revenues | € | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Revenues | % | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
O&M Costs (Opex, Personnel...) | € | 55570 | 15000 | 116182.95 | 16500 | 15000 | 1000 | 20000 | 239252.95
O&M Costs (Opex, Personnel...) | % | 23.23% | 6.27% | 48.56% | 6.896% | 6.27% | 0.418% | 8.359% | 100%
Payback Period | y | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 2791103
Operational Profit | € | -55570 | -15000 | -116182.95 | -16500 | -15000 | -1000 | -20000 | -239251.95
ROI (Return On Investment) - annual basis | % | -7.396% | -4.773% | -17.22% | -3.3% | -23.08% | -3.65% | -4.362% | -8.572%
ROI (3 years) | % | -22.19% | -14.32% | -51.67% | -9.9% | -69.23% | -10.95% | -13.09% | -25.72%
ROI (5 years) | % | -36.98% | -23.87% | -86.12% | -16.5% | -115.4% | -18.25% | -21.81% | -42.86%
ROI (10 years) | % | -73.96% | -47.73% | -172.2% | -33% | -230.8% | -36.5% | -43.62% | -85.72%
Financial Risk (Cash flows) | % | 23.23% | 6.27% | 48.56% | 6.896% | 6.27% | 0.418% | 8.359% | 100%
Sensitivity 4
Stakeholders Involved |  | Trønderenergi | ABB | KJELDSBERG/RK | STATKRAFT VARME - District Heating Operator | VOLUE (ex POWEL) | ABG | Trondheim Municipality | GRAN TOTALS | Total Costs + Investment
Total Investments | € | 751400 | 314250 | 674553 | 500000 | 65000 | 27400 | 458500 | 2791103 | 3030355.95
Total Investments | % | 26.92% | 11.26% | 24.17% | 17.91% | 2.329% | 0.9817% | 16.43% | 100%
Revenues | € | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Revenues | % | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
O&M Costs (Opex, Personnel...) | € | 55570 | 15000 | 116182.95 | 16500 | 15000 | 1000 | 20000 | 239252.95
O&M Costs (Opex, Personnel...) | % | 23.23% | 6.27% | 48.56% | 6.896% | 6.27% | 0.418% | 8.359% | 100%
Payback Period | y | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 2791103
Operational Profit | € | -55570 | -15000 | -116182.95 | -16500 | -15000 | -1000 | -20000 | -239251.95
ROI (Return On Investment) - annual basis | % | -7.396% | -4.773% | -17.22% | -3.3% | -23.08% | -3.65% | -4.362% | -8.572%
ROI (3 years) | % | -22.19% | -14.32% | -51.67% | -9.9% | -69.23% | -10.95% | -13.09% | -25.72%
ROI (5 years) | % | -36.98% | -23.87% | -86.12% | -16.5% | -115.4% | -18.25% | -21.81% | -42.86%
ROI (10 years) | % | -73.96% | -47.73% | -172.2% | -33% | -230.8% | -36.5% | -43.62% | -85.72%
Financial Risk (Cash flows) | % | 23.23% | 6.27% | 48.56% | 6.896% | 6.27% | 0.418% | 8.359% | 100%
Note on I3: Had to restructure total investment because the relevant foundation here is 1 shared EV, 1 V2G charger, and kitting of 1 EV - kitting: SW+HW unit for harvesting necessary data, including State-of-Charge (SoC) crucial for trading EL off the EV battery. 1 EV: €19,200 1 V2G charger: €7,500 Kitting of 1 EV: €700 SUM: €27,400 ======
Note on D5: Preliminary value (revenue) for flexibility included (24,632 Euros). Updated number will be provided by TK 21. December. Recent calcs for revenue on BESS show substantial savings/revenue from reduced grid tariff/tax (document sent OV December 20). Value of this is €19,200 which is added to the total revenue for TE. In addition: Revenue will increase when TK adds impact of sales of system services to the DSO (Tensio) - data to arrive at OV 21 December. Our conclusion so far: When you have a BESS as part of your LFM, both for buffering surplus PV production, obtaining cost reductions on grid tax, and then also selling system services to the DSO, BESS will contribute with revenue that strongly affects financial gain from an LFM. ======
Note on I22: Had to restructure total investment because the relevant foundation here is 1 shared EV, 1 V2G charger, and kitting of 1 EV - kitting: SW+HW unit for harvesting necessary data, including State-of-Charge (SoC) crucial for trading EL off the EV battery. 1 EV: €19,200 1 V2G charger: €7,500 Kitting of 1 EV: €700 SUM: €27,400 ======
Note on D24: Preliminary value (revenue) for flexibility included (24,632 Euros). Updated number will be provided by TK 21. December. Recent calcs for revenue on BESS show substantial savings/revenue from reduced grid tariff/tax (document sent OV December 20). Value of this is €19,200 which is added to the total revenue for TE. In addition: Revenue will increase when TK adds impact of sales of system services to the DSO (Tensio) - data to arrive at OV 21 December. Our conclusion so far: When you have a BESS as part of your LFM, both for buffering surplus PV production, obtaining cost reductions on grid tax, and then also selling system services to the DSO, BESS will contribute with revenue that strongly affects financial gain from an LFM. ======
Note on I40: Had to restructure total investment because the relevant foundation here is 1 shared EV, 1 V2G charger, and kitting of 1 EV - kitting: SW+HW unit for harvesting necessary data, including State-of-Charge (SoC) crucial for trading EL off the EV battery. 1 EV: €19,200 1 V2G charger: €7,500 Kitting of 1 EV: €700 SUM: €27,400 ======
Note on D42: Preliminary value (revenue) for flexibility included (24,632 Euros). Updated number will be provided by TK 21. December. Recent calcs for revenue on BESS show substantial savings/revenue from reduced grid tariff/tax (document sent OV December 20). Value of this is €19,200 which is added to the total revenue for TE. In addition: Revenue will increase when TK adds impact of sales of system services to the DSO (Tensio) - data to arrive at OV 21 December. Our conclusion so far: When you have a BESS as part of your LFM, both for buffering surplus PV production, obtaining cost reductions on grid tax, and then also selling system services to the DSO, BESS will contribute with revenue that strongly affects financial gain from an LFM. ======
Note on I58: Had to restructure total investment because the relevant foundation here is 1 shared EV, 1 V2G charger, and kitting of 1 EV - kitting: SW+HW unit for harvesting necessary data, including State-of-Charge (SoC) crucial for trading EL off the EV battery. 1 EV: €19,200 1 V2G charger: €7,500 Kitting of 1 EV: €700 SUM: €27,400 ======
Note on D60: Preliminary value (revenue) for flexibility included (24,632 Euros). Updated number will be provided by TK 21. December. Recent calcs for revenue on BESS show substantial savings/revenue from reduced grid tariff/tax (document sent OV December 20). Value of this is €19,200 which is added to the total revenue for TE. In addition: Revenue will increase when TK adds impact of sales of system services to the DSO (Tensio) - data to arrive at OV 21 December. Our conclusion so far: When you have a BESS as part of your LFM, both for buffering surplus PV production, obtaining cost reductions on grid tax, and then also selling system services to the DSO, BESS will contribute with revenue that strongly affects financial gain from an LFM. ======
Note on I77: Had to restructure total investment because the relevant foundation here is 1 shared EV, 1 V2G charger, and kitting of 1 EV - kitting: SW+HW unit for harvesting necessary data, including State-of-Charge (SoC) crucial for trading EL off the EV battery. 1 EV: €19,200 1 V2G charger: €7,500 Kitting of 1 EV: €700 SUM: €27,400 ======
Note on D79: Preliminary value (revenue) for flexibility included (24,632 Euros). Updated number will be provided by TK 21. December. Recent calcs for revenue on BESS show substantial savings/revenue from reduced grid tariff/tax (document sent OV December 20). Value of this is €19,200 which is added to the total revenue for TE. In addition: Revenue will increase when TK adds impact of sales of system services to the DSO (Tensio) - data to arrive at OV 21 December. Our conclusion so far: When you have a BESS as part of your LFM, both for buffering surplus PV production, obtaining cost reductions on grid tax, and then also selling system services to the DSO, BESS will contribute with revenue that strongly affects financial gain from an LFM. ======